## Slide 1: POWER MANAGEMENT SYSTEM
BY
Author: Siva Surya M, Suganth M , Sanjeeva S
Internship: National Institute of Ocean Technology (NIOT), Chennai
Department: Ocean observation system
NIOT Date: 27/06/2025

## Slide 2: Project Overview
Objective:
To Design a power management system.
To monitor the real time voltage and current in the power sources.
Automatically switch between a LeadAcid and a LithiumIon battery based on realtime voltage levels.
Significance:
Applicable in ocean buoys, remote IoT setups, disaster communication systems.
Lowcost, highefficiency energy utilization.
Monitors voltage and current of:
LeadAcid Battery (12V)
LithiumIon Battery (14.7V)
Solar Panel (40W)
Load consumption.
Autoswitches power source using Relay.
Displays realtime data on LCD display.
Also Logs data to device via Serial monitor.

## Slide 3: Components Used
Microcontroller: ESP32 DevKit V1
Power Sources:
Charge controller
LeadAcid Battery (12V)
LithiumIon Battery (14.4V)
Solar Panel (40W)
Load(motor)
Conversion & Switching:
Buck Converter (12V to 5V)
Relay Module 5V (1channel)
Sensing Modules:
ACS712 Current Sensors (30A, x4)
Display: 16x4 I2C LCD
Protection: Diodes, Fuses

## Slide 4: 🔌 ACS712 Current Sensor (20A)
The ACS712 is a precise current sensor used for measuring both AC and DC current.
It provides a clean analog voltage output proportional to the current flowing through it.
Sensor image :

## Slide 5: COMPONENTS
Relay 5v (single channel
)
Buck converter (3A)

## Slide 6: Components
Lithium ion battery 14.7 v
Lead acid battery 12v

## Slide 7
Solar Charge Controller :
Regulates the voltage and current coming from the solar panel Ensures safe charging of the lead-acid battery.
Prevents overcharging, reverse current, and deep dischargeActs as an intermediate power distribution system to both battery and load.

## Slide 8: 🛠How it works ?
The system continuously monitors the voltages and currents of the Lead-Acid battery (12V), Li-ion battery (14.7V), and the 40W Solar Panel using voltage and current sensors.
💡 Solar Charging: During sunlight hours, the solar panel charges the batteries while powering the load.
🔄 Automatic Battery Switching:A relay circuit, controlled by the ESP32, automatically switches between batteries based on real-time voltage levels
If Lead-Acid battery drops below 12V, the system switches to the Li-ion battery.If Lead-Acid battery recovers above 12V, it switches back for primary use.
▶ 📊 Sensor Readings: ACS712 (30A) current sensors and voltage sensors measure all power sources and the load in real time.
▶ 💻 Data Display & Logging: Values are shown on a 16x4 LCD display.Simultaneously, data is transmitted via Wi-Fi and logged on a connected device for remote monitoring

## Slide 9: Diagram:
q

## Slide 10: Safety Considerations
Fuses: 10A blade fuses on battery & solar +ve terminals
Diodes: Schottky diodes to prevent reverse current
Voltage Divider: Keeps ESP32 safe from >3.3V
Common Grounding: Prevents sensor errors

## Slide 11: THANK YOU